## Curve Data
Sensor Model: | Blk Barrel Diod
Serial Number:
Data Format: | 2 | (Volts)
SetPoint Limit: | 0 | (Kelvin)
Temperature coefficient: | 1 | (Negative)
Number of Breakpoints: | 4
No. | Units | Temperature (K)
1 | 0.488 | 325
2 | 0.732 | 250
3 | 0.976 | 175
4 | 1.22 | 100