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Keck Engineering Time Proposal
	Title:
	K1 segment SP30 warping

	Date of Observation:
	Aug 20 or Aug 27

	Lead:
	S. Panteleev

	Other persons involved:
	

	Telescope(s)
	K1

	Instrument(s)
	PCS

	Sky time Requested
	2.5 h

	Date(s) to avoid
	

	Required conditions
	


	Purpose (Please describe succinctly the main purpose of the proposal: development project, general telescope engineering, instrument commissioning, problem trouble shooting, data quality, etc.):
There is still one segment unwarped in K1 (SP30). In order to warp it we have to schedule nighttime for the primary mirror alignment and UFS tests after warping.

This should be scheduled on one of week days only as will require daytime warping.


	Description (Please describe your night-time engineering plan; provide justification for the time request, and include figures, ECR description and other attachments if necessary): 

T447, T962a


	Plan for data reduction, analysis, and reporting: 
The data will be reduced on the following test week.


	Other resources needed: 



	Status and progress reports from previous use of engineering time: 
n/a
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