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Keck Engineering Time Proposal
	Title:
	T962a

	Date of Observation:
	K1: Aug 14, Sep and Oct (we need at least in Oct!)
K2: Aug 14, Sep 12 and Oct 11

	Lead:
	S.Panteleev

	Other persons involved:
	

	Telescope(s)
	K1 and K2

	Instrument(s)
	PCS

	Sky time Requested
	1.5 h

	Date(s) to avoid
	

	Required conditions
	


	Purpose (Please describe succinctly the main purpose of the proposal: development project, general telescope engineering, instrument commissioning, problem trouble shooting, data quality, etc.):
This is the regular phasing check. 
The best time for the test is during a first IF engineering night. The test may be done either at the beginning of the night or the second half of the night depending of IF request.
The phasing should be done once per month or at least every second month.


	Description (Please describe your night-time engineering plan; provide justification for the time request, and include figures, ECR description and other attachments if necessary): 

T962a – Remedy test – standard test for phasing check.


	Plan for data reduction, analysis, and reporting: 
The data will be reduced on the following test week.


	Other resources needed: 



	Status and progress reports from previous use of engineering time: 
Last phasing:
K1 – Jul 12 2008
K2 – Jul 12 2008
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