## Arcline Calib
Arcline Calibrated Echelle Orders for NIRSPEC: 0.95 -3.38 microns
Data taken on: 2019Oct19 (UT) for Y, J, H bands and 2020dec03 for K and L bands
Slit: 0.288" x 12" for Y, J, H bands and 0.144" x 12 for K and L bands
Arc Lamp Frames taken 1.5sec x 20 coadds ( Ar, Ne, Kr, & Xe)
Wavelength Calibration done using IRAF's identify and dispcor using Legendre fits to line identifications. Saturated lines were excluded
Echelle Angle | Xdisperser | SPEC filter | Passband | Order | Dispersion (A/pix) | Lambda_pix1 (A) | Lambda_pix2048 (A) | RMS of fit (A) | Order of Fit | # Arclines in fit | Notes
63 | 34.95 | NIRSPEC-1 | Y-band | 80 | 0.091631 | 9457.9865 | 9645.5549 | 0.0261 | 3 | 8
|  |  |  | 79 | 0.092603 | 9576.7688 | 9766.3273 | 0.06738 | 3 | 8
|  |  |  | 78 | 0.093911 | 9698.6829 | 9890.919 | 0.03137 | 3 | 6
|  |  |  | 77 | 0.095045 | 9821.948 | 10016.5047 | 0.1455 | 2 | 3
|  |  |  | 76 | 0.096299 | 9952.0942 | 10149.2177 | 0.03003 | 4 | 12
|  |  |  | 75 | 0.097921 | 10083.7756 | 10284.2207 | 0.07324 | 3 | 8
|  |  |  | 74 | 0.099298 | 10219.1576 | 10422.4199 | 0.02409 | 3 | 7
|  |  |  | 73 | 0.10054 | 10358.28 | 10564.0925 | 0.08732 | 4 | 11
|  |  |  | 72 | 0.10198 | 10501.4023 | 10710.1491 | 0.05939 | 3 | 12
|  |  |  | 71 | 0.10292 | 10648.9895 | 10859.6584 | 0.04911 | 4 | 12
|  |  |  | 70 | 0.10434 | 10800.2095 | 11013.7876 | 0.07868 | 4 | 7
|  |  |  | 69 | 0.10649 | 10955.1677 | 11173.1567 | 0.05449 | 3 | 11
|  |  |  | 68 | 0.10801 | 11116.642 | 11337.7421 | 0.01183 | 3 | 9
63 | 34.08 | NIRSPEC-3 | J-band | 67 | 0.10983 | 11292.1334 | 11516.9534 | 0.02981 | 3 | 9
|  |  |  | 66 | 0.11061 | 11463.8751 | 11690.2836 | 0.01388 | 4 | 9
|  |  |  | 65 | 0.11228 | 11639.3729 | 11869.2065 | 0.0304 | 4 | 9
|  |  |  | 64 | 0.11473 | 11819.0052 | 12053.8478 | 0.06512 | 3 | 11
|  |  |  | 63 | 0.10649 | 12006.1644 | 12224.1534 | 0.04462 | 4 | 9
|  |  |  | 62 | 0.11792 | 12198.3716 | 12439.7631 | 0.108 | 3 | 5
|  |  |  | 61 | 0.1225 | 12392.6853 | 12643.4338 | 0.029 | 4 | 6
|  |  |  | 60 | 0.12246 | 12602.7007 | 12853.3662 | 0.08527 | 3 | 8
|  |  |  | 59 | 0.12458 | 12815.0732 | 13070.0819 | 0.01304 | 3 | 5
|  |  |  | 58 | 0.12669 | 13034.6784 | 13294.0099 | 0.08895 | 3 | 7
|  |  |  | 57 | 0.1286 | 13262.6143 | 13525.8593 | 0.05706 | 3 | 6
|  |  |  | 56 | 0.13291 | 13494.8122 | 13766.8822 | 0.08786 | 4 | 6
|  |  |  | 55 | 0.1334 | 13743.0387 | 14016.1183 | 0.02976 | 3 | 11
63 | 36.72 | NIRSPEC-5 | H-band | 54 | 0.14485 | 14034.2227 | 14330.7235 | 0.09028 | 3 | 4
|  |  |  | 53 | 0.13783 | 14282.6908 | 14564.8248 | 0.05236 | 3 | 5
|  |  |  | 52 | 0.14244 | 14556.4466 | 14848.0227 | 0.01703 | 3 | 5
|  |  |  | 51 | 0.14202 | 14837.3515 | 15128.0645 | 0.06655 | 4 | 6
|  |  |  | 50 | 0.14566 | 15131.5117 | 15429.6875 | 0.07613 | 4 | 10
|  |  |  | 49 | 0.1495 | 15437.0141 | 15743.0488 | 0.05409 | 3 | 7
|  |  |  | 48 | 0.15255 | 15755.9758 | 16068.2453 | 0.08226 | 4 | 13
|  |  |  | 47 | 0.1561 | 16088.8264 | 16408.3667 | 0.06867 | 3 | 8
|  |  |  | 46 | 0.15919 | 16436.6074 | 16762.471 | 0.07554 | 3 | 8
|  |  |  | 45 | 0.16291 | 16799.2707 | 17132.7422 | 0.05124 | 3 | 5
|  |  |  | 44 | 0.16652 | 17179.673 | 17520.5428 | 0.0242 | 3 | 6
|  |  |  | 43 | 0.17018 | 17578.2825 | 17926.6474 | 0.06952 | 3 | 6
62.23 | 35.08 | NIRSPEC-7 | K-band1 | 41 | 0.18314 | 18329.978 | 18704.8626 | 0.04194 | 3 | 9
|  |  |  | 40 | 0.18857 | 18786.0494 | 19172.0563 | 0.105 | 3 | 4
|  |  |  | 39 | 0.19989 | 19248.2337 | 19657.4127 | n/a | 2 | 2 | poor fit, few lines
|  |  |  | 38 | 0.19725 | 19766.3792 | 20170.144 | 0.0969 | 4 | 7
|  |  |  | 37 | 0.20027 | 20300.4191 | 20710.3754 | 0.1913 | 4 | 5
|  |  |  | 36 | 0.20958 | 20856.6694 | 21285.6757 | 0.08002 | 3 | 6
|  |  |  | 35 | 0.21591 | 21449.3123 | 21891.2785 | 0.0368 | 3 | 6
|  |  |  | 34 | 0.22073 | 22077.0932 | 22528.9238 | 0.03834 | 4 | 9
|  |  |  | 33 | 0.20831 | 22779.5391 | 23205.9442 | 0.03149 | 4 | 5
63.92 | 35.19 | NIRSPEC-7 | K-band2 | 41 | 0.17103 | 18616.7346 | 18966.8409 | 0.09936 | 4 | 7
|  |  |  | 39 | 0.17951 | 19562.6021 | 19930.0548 | 0.0503 | 2 | 3 | few lines
|  |  |  | 38 | 0.17477 | 20088.9041 | 20446.6536 | 0.1852 | 4 | 8
|  |  |  | 37 | 0.19125 | 20613.1555 | 21004.635 | 0.06895 | 4 | 9
|  |  |  | 36 | 0.1978 | 21180.329 | 21585.2184 | 0.05599 | 3 | 8
|  |  |  | 35 | 0.20343 | 21778.9371 | 22195.3522 | 0.2357 | 2 | 3 | few lines
|  |  |  | 34 | 0.20745 | 22421.8741 | 22846.5324 | 0.03286 | 4 | 7
|  |  |  | 33 | 0.21397 | 23098.9527 | 23536.9563 | 0.04898 | 4 | 8
62.15 | 36.91 | NIRSPEC-7 | K-band3 | 34 | 0.2206 | 22087.7004 | 22539.2695 | 0.06562 | 4 | 9
|  |  |  | 33 | 0.21109 | 22781.5076 | 23213.6099 | 0.05563 | 4 | 5
|  |  |  | 32 | 0.23521 | 23454.3463 | 23935.8261 | 0.04954 | 4 | 8
|  |  |  | 31 | 0.24434 | 24204.4725 | 24704.6296 | 0.04551 | 3 | 13
|  |  |  | 30 | 0.25095 | 25005.7047 | 25519.4079 | 0.06469 | 4 | 11
|  |  |  | 29 | 0.26281 | 25853.1933 | 26391.1732 | 0.4998 | 2 | 3 | few lines
63.99 | 37.08 | NIRSPEC-7 | K-band4 | 34 | 0.20734 | 22462.2288 | 22886.6462 | 0.03844 | 3 | 5
|  |  |  | 33 | 0.21325 | 23136.3312 | 23572.8563 | 0.04196 | 3 | 5
|  |  |  | 32 | 0.22017 | 23853.3353 | 24304.0237 | 0.01314 | 4 | 11
|  |  |  | 31 | 0.23718 | 24599.9235 | 25085.4229 | 0.07109 | 4 | 6
|  |  |  | 30 | 0.23589 | 25430.7202 | 25913.5939 | 0.0344 | 3 | 5
61.99 | 32.47 | KL | L-band1 | 29 | 0.26345 | 25849.526 | 26388.8134 | 0.6236 | 2 | 3
|  |  |  | 28 | 0.27015 | 26776.6042 | 27329.5928 | N/A | 3 | 3
|  |  |  | 27 | 0.28016 | 27761.6213 | 28335.1024 | 0.0669 | 3 | 4
|  |  |  | 26 | 0.2911 | 28823.7452 | 29419.6244 | 0.01162 | 4 | 5
|  |  |  | 25 | 0.30384 | 29969.471 | 30591.4331 | N/A | 3 | 3
|  |  |  | 24 | 0.30155 | 31223.9656 | 31841.2336 | N/A | 2 | 2 | few lines
|  |  |  | 23 | 0.33356 | 32553.981 | 33236.7847 | N/A | 2 | 2 | few lines
64.13 | 32.59 | KL | L-band2 | 29 | 0.2407 | 26369.6136 | 26862.3243 | N/A | 3 | 3
|  |  |  | 28 | 0.25092 | 27302.2881 | 27815.9262 | N/A | 2 | 2
|  |  |  | 27 | 0.2597 | 28310.5627 | 28842.1691 | 0.04642 | 4 | 9
|  |  |  | 26 | 0.27181 | 29393.6577 | 29950.047 | 0.03463 | 3 | 4
|  |  |  | 25 | 0.28237 | 30561.5329 | 31139.5432 | 0.1067 | 3 | 4
|  |  |  | 23 | 0.30493 | 33205.7634 | 33829.965 | N/A | 3 | 3

## OH Calib
OH Skyline Calibrated Echelle Orders for NIRSPEC: 0.95 -3.38 microns
Data taken on: 2020Dec03 UT)
Slit: 0.144" x 12"
Skyline Frames taken 360sec x 1 coadd (OH)
Wavelength Calibration done using IRAF's identify and dispcor using Legendre fits to line identifications. Saturated lines were excluded
Echelle Angle | Xdisperser | SPEC filter | Passband | Order | Dispersion (A/pix) | Lambda_pix1 (A) | Lambda_pix2048 (A) | RMS of fit (A) | Order of Fit | # Arclines in fit | Notes
63 | 34.95 | NIRSPEC-1 | Y-band | 80 | 0.091816 | 9459.338 | 9647.2848 | 0.03341 | 3 | 8
|  |  |  | 79 | 0.092142 | 9579.266 | 9767.8798 | 0.03666 | 3 | 6
|  |  |  | 78 | 0.093875 | 9699.628 | 9891.7891 | 0.04628 | 3 | 6
|  |  |  | 77 | 0.095402 | 9824.5459 | 10019.834 | 0.02522 | 3 | 13
|  |  |  | 76 | 0.096366 | 9953.1709 | 10150.4315 | 0.08791 | 3 | 5
|  |  |  | 75 | 0.097942 | 10084.9028 | 10285.3904 | 0.04064 | 3 | 14
|  |  |  | 74 | 0.099135 | 10220.4125 | 10423.3419 | 0.05251 | 3 | 9
|  |  |  | 73 | 0.10066 | 10359.5063 | 10565.5674 | 0.04092 | 3 | 11
|  |  |  | 72 | 0.12552 | 10507.1632 | 10764.1043 | 0.1539 | 3 | 5
|  |  |  | 71 | 0.10352 | 10649.3463 | 10861.256 | 0.6819 | 3 | 11
|  |  |  | 70 | 0.10486 | 10800.9778 | 11015.6256 | 0.151 | 3 | 11
|  |  |  | 69 | 0.10654 | 10957.462 | 11175.5448 | 0.02465 | 3 | 8
63 | 34.08 | NIRSPEC-3 | J-band | 67 | 0.091374 | 11317.1982 | 11504.2399 | 1.687 | 2 | 3 | poor fit
|  |  |  | 66 | 0.11129 | 11464.4658 | 11692.2804 | 0.09267 | 3 | 7
|  |  |  | 65 | 0.1173 | 11640.6567 | 11880.7671 | 0.01963 | 4 | 7
|  |  |  | 64 | 0.11399 | 11822.0754 | 12055.4117 | 0.03554 | 4 | 11
|  |  |  | 63 | 0.1161 | 12008.0799 | 12245.7369 | 0.09801 | 4 | 10
|  |  |  | 62 | 0.11803 | 12200.5041 | 12442.1027 | 0.01324 | 4 | 10
|  |  |  | 61 | 0.11956 | 12400.2113 | 12644.9551 | 0.05416 | 4 | 9
|  |  |  | 60 | 0.12222 | 12604.879 | 12855.0657 | 0.0435 | 3 | 6
|  |  |  | 59 | 0.12473 | 12816.2149 | 13071.5422 | 0.3062 | 3 | 12
|  |  |  | 58 | 0.12871 | 13033.4689 | 13296.937 | 0.03614 | 4 | 7
|  |  |  | 57 | 0.12798 | 13263.0055 | 13524.9737 | 0.1769 | 3 | 5
|  |  |  | 56 | 0.13089 | 13500.3733 | 13768.3077 | 0.03764 | 3 | 4
63 | 36.72 | NIRSPEC-5 | H-band | 53 | 0.13632 | 14286.3493 | 14565.3989 | 0.09414 | 4 | 9
|  |  |  | 52 | 0.13887 | 14558.9596 | 14843.219 | 0.0819 | 4 | 23
|  |  |  | 51 | 0.14384 | 14840.2 | 15134.6318 | 0.0988 | 3 | 12
|  |  |  | 50 | 0.14627 | 15133.486 | 15432.8989 | 0.0614 | 3 | 7
|  |  |  | 49 | 0.14951 | 15439.9979 | 15746.047 | 0.06822 | 3 | 22
|  |  |  | 48 | 0.15317 | 15757.5925 | 16071.1385 | N/A | 3 | 2
|  |  |  | 47 | 0.15554 | 16092.0167 | 16410.4079 | 0.02416 | 4 | 15
|  |  |  | 46 | 0.15985 | 16439.308 | 16766.5231 | 0.1016 | 3 | 19
|  |  |  | 45 | 0.16249 | 16802.5775 | 17135.2022 | 0.0239 | 4 | 9
|  |  |  | 44 | 0.16592 | 17182.8047 | 17522.4418 | 0.01986 | 4 | 19
|  |  |  | 43 | 0.17031 | 17578.6776 | 17927.3 | 0.2292 | 3 | 6
62.23 | 35.08 | NIRSPEC-7 | K-band1 | 41 | 0.18367 | 18330.1817 | 18706.1529 | 0.02605 | 3 | 6
|  |  |  | 40 | 0.18739 | 18785.4652 | 19169.0437 | N/A | 3 | 3 | poor fit
|  |  |  | 39 | 0.19149 | 19265.3951 | 19657.3675 | 0.05235 | 4 | 14
|  |  |  | 38 | 0.19769 | 19767.0844 | 20171.7617 | 0.1223 | 4 | 12
|  |  |  | 37 | 0.20408 | 20296.9659 | 20714.7157 | 0.03798 | 3 | 8
|  |  |  | 36 | 0.20882 | 20857.236 | 21284.6971 | 0.04486 | 4 | 22
|  |  |  | 35 | 0.21468 | 21449.8457 | 21889.3009 | 0.1498 | 4 | 13
|  |  |  | 34 | 0.22097 | 22077.2816 | 22529.617 | 0.1664 | 4 | 9
|  |  |  | 33 | 0.22819 | 22737.085 | 23204.1845 | 0.01692 | 4 | 5
63.92 | 35.19 | NIRSPEC-7 | K-band2 | 41 | 0.1816 | 18600.7288 | 18972.457 | 2.298 | 2 | 3 | poor fit
|  |  |  | 40 | 0.17697 | 19078.3002 | 19440.5657 | 0.0167 | 3 | 5
|  |  |  | 39 | 0.18169 | 19564.0996 | 19936.0276 | 0.05221 | 3 | 15
|  |  |  | 38 | 0.18603 | 20075.2606 | 20456.0589 | 0.0448 | 4 | 12
|  |  |  | 37 | 0.19226 | 20612.9574 | 21006.5188 | 0.04756 | 3 | 10
|  |  |  | 36 | 0.19669 | 21183.0861 | 21585.7095 | 0.01196 | 4 | 12
|  |  |  | 35 | 0.20247 | 21784.949 | 22199.3998 | 0.0337 | 4 | 13
|  |  |  | 34 | 0.20836 | 22422.7715 | 22849.2851 | 0.01396 | 4 | 8
|  |  |  | 33 | 0.22164 | 23102.7184 | 23556.4219 | 0.05021 | 3 | 5
62.15 | 36.91 | NIRSPEC-7 | K-band3 | 34 | 0.22013 | 22089.2215 | 22539.8227 | 0.01222 | 4 | 9
|  |  |  | 33 | 0.2281 | 22745.0801 | 23212.0067 | 0.00918 | 2 | 4
|  |  |  | 32 | 0.23305 | 23485.8142 | 23962.8596 | 0.4153 | 3 | 4
63.99 | 37.08 | NIRSPEC-7 | K-band4 | 34 | 0.20661 | 22464.0644 | 22887.0011 | 0.01394 | 3 | 6
|  |  |  | 33 | 0.22371 | 23138.5126 | 23596.4416 | 0.04106 | 3 | 5